{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Изменения атрибутов"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Изменения атрибутов","index":0,"n_rows":225,"n_cols":14,"rows_kept":225,"cut":false,"hidden":false,"merged":[[10,0,10,13],[14,8,15,8],[14,2,14,5],[14,0,15,0],[14,1,15,1],[14,6,15,6],[14,7,15,7],[14,9,15,9],[14,10,15,10],[14,11,15,11],[14,12,15,12],[14,13,15,13]]}
[null,null,null,null,null,null,null,null,"Приложение №11"]
[null,null,null,null,null,null,null,null,"к договору №____________________ от _____________"]
["Заказчик:",null,null,null,null,null,null,"Исполнитель:"]
["Директор по реализации услуг"]
["транспорта электроэнергии АО \"ЛОЭСК\""]
[]
["_____________________ Е.В. Гельгорн",null,null,null,null,null,null,"_____________________ "]
["\"____\"____________ 201_г",null,null,null,null,null,null,"\"____\"____________ 201_г"]
["МП",null,null,null,null,null,null,"МП"]
[]
["Объем ВПУ в зоне действия филиала АО \"ЛОЭСК\" \"Пригородные электросети\""]
[]
["Общее количество ВПУ на 01.11.2019г состаляет 209 шт."]
[]
["№ п/п","№ ТП","Местонахождение (адрес)",null,null,null,"Лицевой счет","Тип прибора учета (ОАУ)","Серийный номер","№ опоры","№ВЛ-0,4 кВ","№ Щита ВПУ","Тип коммутирующего устройства и его уставка","Год установки ПУ"]
[null,null,"Населённый пункт","Улица","Дом","Квартира"]
[1,8862,"д. Лехтуси","Магистральная",2,null,"018\\52170022","Меркурий 230 ART-01 CLN",6270381,5,null,null,null,2010]
[{"$f":"A17+1","v":2},8862,"д. Лехтуси","Магистральная",3,null,"018\\52170037","Меркурий 230 ART-01 MCLN",11152726,6,null,null,null,2010]
[{"$f":"A18+1","v":3},8862,"д. Лехтуси","Магистральная",4,null,"018\\52170036","Меркурий 230 ART-01 CLN",6243182,2,null,null,null,2010]
[4,8862,"д. Лехтуси","Магистральная",5,null,"018\\52170023","Меркурий 230 ART-01 CLN",6270366,4,null,null,null,2010]
[5,8862,"д. Лехтуси","Магистральная",8,null,"018\\52170024","Меркурий 236 ART-01 PQL",20251989,2,null,null,null,2010]
[6,8862,"д. Лехтуси","Магистральная",9,null,"018\\52170025","Меркурий 230 ART-01 CLN",6243178,2,null,null,null,2010]
[7,8862,"д. Лехтуси","Магистральная",10,null,"018\\52170026","Меркурий 230 ART-01 CLN",6270374,4,null,null,null,2010]
[8,8862,"д.Лехтуси","Магистральная",11,null,"018\\52170027","Меркурий ART-01 CLN",6270343,2,null,null,null,2010]
[9,8862,"д. Лехтуси","Магистральная",12,null,"018\\52170030","Меркурий 230 ART-01 CLN",6270339,5,null,null,null,2010]
[10,8862,"д. Лехтуси","Магистральная",14,null,"018\\52170029","Меркурий 230 ART-01 CLN",6243354,6,null,null,null,2010]
[11,8862,"д. Лехтуси","Магистральная",15,null,"018\\52170028","Меркурий 230 ART-01 CLN",6244325,5,null,null,null,2010]
[12,8862,"д. Лехтуси","Магистральная",16,null,"018\\52170031","Меркурий 230 ART-01 CLN",6270365,5,null,null,null,2010]
[13,8862,"д. Лехтуси","Магистральная",17,null,"018\\52170032","Меркурий 230 ART-01 CLN",6270367,6,null,null,null,2010]
[14,8862,"д. Лехтуси","Магистральная",19,null,"018\\52170033","Меркурий 230 ART-01 CLN",6270391,6,null,null,null,2010]
[15,8862,"д. Лехтуси","Магистральная",20,null,"018\\52170034","Меркурий 200.4 М",6348369,9,null,null,null,2010]
[16,8862,"д. Лехтуси","Магистральная",22,null,"018\\52170035","Меркурий 230RT-01 CLN",6270351,9,null,null,null,2010]
[17,2605,"д. Кирполье","Швейцарский проезд","уч. 42",null,"005\\53120158","Меркурий 236 AT-01 PQL",11186984,58,null,null,null,2012]
[18,2605,"д. Кирполье","Швейцарский проезд","уч.43",null,"005\\53120159","Меркурий 236 AT-01 PQL",11186975,62,null,null,null,2012]
[19,2605,"д. Кирполье","Жемчужная",4,null,"005\\53120160","Меркурий 236 AT-01 PQL",11187115,14,null,null,null,2012]
[20,2605,"д. Кирполье","Жемчужная","4а уч.10б",null,"005\\53120161","Меркурий 236 AT-01 PQL",11186978,14,null,null,null,2012]
[21,2605,"д.Кирполье","Жемчужная","1 уч. 20",null,"005\\53120162","Меркурий 230 ART-01 CLN",4465723,13,null,null,null,2012]
[22,2605,"д. Кирполье","Швейцарский проезд","11 уч.30",null,"005\\53120163","Меркурий 230 ART-01 МCLN",7977317,12,null,null,null,2012]
[23,2605,"д. Кирполье","Швейцарский проезд","18 уч.40",null,"005\\53120164","Меркурий 236 AT-01 PQL",11186919,11,null,null,null,2012]
[24,2605,"д. Кирполье","Швейцарский проезд","10 уч.37",null,"005\\53120165"," Меркурий 230 ART-01 МCLN",11095562,42,null,null,null,2012]
[25,2605,"д. Кирполье","Александровская","2 уч.3",null,"005\\53120166","Меркурий 230 ART-01 МCLN",11095462,35,null,null,null,2012]
[26,2605,"д. Кирполье","Женевский проезд",3,null,"005\\53120167","Меркурий 236 AT-01 PQL",11187127,31,null,null,null,2012]
[27,2605,"д. Кирполье","Женевский проезд","7 уч. 7",null,"005\\53120168"," Меркурий 236 AT-01 PQL",11187045,26,null,null,null,2012]
[28,2605,"д. Кирполье","Швейцарский проезд",15,null,"005\\53120169","Меркурий 236 AT-01 PQL",11186957,31,null,null,null,2012]
[29,2605,"д. Кирполье","Швейцарский проезд",24,null,"005\\53120170","Меркурий 236 AT-01 PQL",11186862,"-",null,null,null,2012]
[30,2605,"д. Кирполье","Швейцарский провезд","9 уч. 29",null,"005\\53120171","Меркурий 236 AT-01 PQL",11187026,23,null,null,null,2012]
[31,2605,"д. Кирполье","Швейцарский проезд",35,null,"005\\53120172","Меркурий 236 AT-01 PQL",11186887,68,null,null,null,2012]
[32,2605,"д. Кирполье","Швейцарский проезд",39,null,"005\\53120173","Меркурий 236 AT-01 PQL",11187112,70,null,null,null,2012]
[33,2605,"д. Кирполье","Сосновая","1 уч. 19",null,"005\\53120174","Меркурий 236 AT-01 PQL",11186863,27,null,null,null,2012]
[34,2605,"д. Кирполье","Швейцарский провезд","2 уч. 14",null,"005\\53120176","Меркурий 236 AT-01 PQL",11186915,"КР",null,null,null,2012]
[35,2605,"д. Кирполье","Женевский проезд",9,null,"005\\53120177","Меркурий 236 AT-01 PQL",11187111,23,null,null,null,2012]
[36,2605,"д. Кирполье","Жемчужная",3,null,"005\\53120178","Меркурий 236 AT-01 PQL",11187032,14,null,null,null,2012]
[37,2605,"д. Кирполье","Большая сосновая","2 уч. 6",null,"005\\53120179","Меркурий 236 AT-01 PQL",11186938,68,null,null,null,2012]
[38,2605,"д. Кирполье","Швейцарский проезд","1а",null,"005\\53120180","Меркурий 236 AT-01 PQL",11186876,48,null,null,null,2012]
[39,2605,"д. Кирполье","Швейцарский проезд",45,null,"005\\53120181","Меркурий 236 AT-01 PQL",11186970,73,null,null,null,2012]
[40,2605,"д. Кирполье","Швейцарский проезд",46,null,"005\\53120182","Меркурий 236 AT-01 PQL",11186972,73]
[41,2605,"д. Кирполье","Швейцарский проезд",47,null,"005\\53120183","Меркурий 236 AT-01 PQL",11186925,73,null,null,null,2012]
[42,2605,"д. Кирполье","Женевский проезд",1,null,"005\\53120184","Меркурий 236 AT-01 PQL",11186903,36,null,null,null,2012]
[43,2605,"д. Кирполье","Швейцарский проезд","38 уч. 38",null,"005\\53120186","Меркурий 236 AT-01 PQL",11186429,59,null,null,null,2012]
[44,2605,"д. Кирполье","Женевский проезд","1 уч.43",null,"005\\53120193","Меркурий 236 AT-01 PQL",11186436,35,null,null,null,2012]
[45,2605,"д. Кирполье","Швейцарский проезд","Таунхаус №2",null,"-","Меркурий 236 AT-03 PQL",11169124,42,null,null,null,2012]
[46,2605,"д. Кирполье","Швейцарский проезд","Таунхаус №1",null,"-","Меркурий 236 AT-01 PQL",11186860,40,null,null,null,2012]
[47,2605,"д. Кирполье","Женевский проезд",1,null,"-","Меркурий 230 ART-01 МCLN",13186168,32,null,null,null,2012]
[48,2402,"д. Мяглово","Песочная","60Б",null,"005\\57100144","Меркурий 236 AT-01 PQL",10750637,12,null,null,null,2012]
[49,2402,"д. Мяглово","Песочная",11,null,"005\\57100141","Меркурий 236 AT-01 PQL",10750608,10,null,null,null,2012]
[50,2402,"д. Мяглово","Песочная",10,null,"005\\57100140","М-236 AT-01 PQL",10750670,4,null,null,null,2012]
[51,2402,"д.Мяглово","Песочная","60А",null,"005\\57100143","Меркурий 236 AT-01 PQL",10750668,13,null,null,null,2012]
[52,1016,"ДНП \"Борисово-2\"","Большая Бобровая","уч.38 оч.1",null,"017\\00201656","Меркурий 230 ART-01 MCLN",6275184,12,null,null,null,2011]
[53,1016,"ДНП \"Борисово-2\"","Абрикосовая","уч.101 оч.1",null,"017\\00201684","Меркурий 230 ART-01 MCLN",7976794,2,null,null,null,2011]
[54,1016,"ДНП \"Борисово-2\"","Абрикосовая","уч.52 оч.1",null,"017\\00201557","Меркурий 230 ART-01 MCLN",7977212,5,null,null,null,2011]
[55,1016,"ДНП \"Борисово-2\"","Абрикосовая","уч.49 оч.1",null,"017\\00201520","Меркурий 230 ART-01 MCLN",7977224,3,null,null,null,2011]
[56,1016,"ДНП \"Борисово-2\"","Большая Бобровая","уч.40 оч.1",null,"017\\00201673","Меркурий 230 ART-01 MCLN",7977310,14,null,null,null,2011]
[57,1016,"ДНП \"Борисово-2\"","Большая Бобровая","уч.36 оч.1",null,"017\\00201569","Меркурий 200.04 М",8730851,9,null,null,null,2011]
[58,1016,"ДНП \"Борисово-2\"","Абрикосовая","уч.44 оч.1",null,"017\\00201602","Меркурий 230 ART-01 MCLN",11186895,26,null,null,null,2011]
[59,1024,"ДНП \"Борисово-2\"","Большая Бобровая","уч.59 оч. 1",null,"017\\00201546","Меркурий 236 ART-01 PQL",28593926,"-",null,null,null,2016]
[60,1024,"ДНП \"Борисово-2\"","БОльшая Боборовая","уч.62 оч.1",null,"017\\00201650","Меркурий 230 ART-01 MCLN",6279739,57,null,null,null,2011]
[61,1024,"ДНП \"Борисово-2\"","Брусничная","уч. 81 оч. 1",null,"017\\00201601","Меркурий 230 ART-01 MCLN",7976530,89,null,null,null,2011]
[62,1024,"ДНП \"Борисово-2\"","Большая Бобровая","уч. 84 оч. 1",null,"017\\00201672","Меркурий 230 ART-01 MCLN",7976545,69,null,null,null,2011]
[63,1024,"ДНП \"Борисово-2\"","Большая Бобровая","уч.72 оч.1",null,"017\\00201599","Меркурий 230 ART-01 MCLN",7976556,52,null,null,null,2011]
[64,1024,"ДНП \"Борисово\"","Большая Бобровая","уч.60 оч.1",null,"017\\00201563","Меркурий 230 ART-01 MCLN",7976992,53,null,null,null,2011]
[65,1024,"ДНП \"Борисово-2\"","Брусничная","уч. 82 оч. 1",null,"017\\00201610","Меркурий 230 ART-01 MCLN",7977195,88,null,null,null,2011]
[66,1024,"ДНП \"Борисово-2\"","ул. Малиновая","уч.68 оч.1",null,"017\\00201630","Меркурий 230 ART-01 MCLN",7977220,60,null,null,null,2011]
[{"$f":"A82+1","v":67},1024,"ДНП \"Борисово-2\"","Смородиновая","уч.70 оч.1",null,"017\\00201625","Меркурий 230 ART-01 MCLN",7977232,65,null,null,null,2011]
[68,1024,"ДНП \"Борисово-2\"","БОльшая Бобровая","уч.74 оч.1",null,"017\\00201505","Меркурий 230 ART-01 MCLN",7977302,"54/1",null,null,null,2011]
[69,1024,"ДНП \"Борисово-2\"","Большая Бобровая","61 оч.1",null,"017\\00201508","Меркурий 230 ART-01 MCLN",7977316,57,null,null,null,2011]
[70,1024,"ДНП \"Борисово-2\"","Смородиновая","уч.78 оч.1",null,"017\\00201675","Меркурий 230 ART-01 MCLN",7977390,64,null,null,null,2011]
[71,1024,"ДНП \"Борисово-2\"","ул. Малиновая","уч. 69 оч.1",null,"017\\00201669","Меркурий 230 ART-01 MCLN",7977399,60,null,null,null,2011]
[72,1024,"ДНП \"Борисово-2\"","Смородиновая","уч. 80 оч. 1",null,"017\\00201578","Меркурий 230 ART-01 MCLN",7977400,65,null,null,null,2011]
[73,1024,"ДНП \"Борисово-2\"","Земляничная","уч.67 оч.1",null,"017\\00201516","Меркурий 230 ART-01 MCLN",7977401,"54/2",null,null,null,2011]
[74,1024,"ДНП \"Борисово-2\"","Смородиновая","уч.71 оч.1",null,"017\\00201648","Меркурий 230 ART-01 MCLN",7977420,65,null,null,null,2011]
[75,1024,"ДНП \"Борисово-2\"","Смородиновая","уч. 79 оч.1",null,"017\\00201626","Меркурий 200.04 М",8730046,63,null,null,null,2011]
[76,1024,"ДНП \"Борисово-2\"","Брусничная","уч. 87 оч.1",null,"017\\00201692","Меркурий 236 ART-01 PQL",20252502,86,null,null,null,2014]
[77,1024,"ДНП \"Борисово-2\"","Большая Бобровая","уч.77 оч.1",null,"017\\00201694","Меркурий 236 ART-01 PQL",31811365,59,null,null,null,2011]
[78,1024,"ДНП \"Борисово-2\"","Брусничная","уч. 86 оч. 1",null,"017\\00201631","Меркурий 200.04 М",8730890,83,null,null,null,2011]
[79,1043,"ДНП \"Борисово-2\"","Яблоневая","уч.1 оч.1",null,"017\\00201641","Меркурий 230 ART-01 MCLN",6279686,39,null,null,null,2011]
[80,1043,"ДНП \"Борисово-2\"","Яблоневая","уч.7 оч.1",null,"017\\00201544","Меркурий 230 ART-01 MCLN",7953449,41,null,null,null,2011]
[81,1043,"ДНП \"Борисово-2\"","Яблоневая","уч.3 оч.1",null,"017\\00201688","Меркурий 230 ART-01 MCLN",7976552,42,null,null,null,2011]
[82,1043,"ДНП \"Борисово-2\"","Яблоневая","уч.2 оч.1",null,"017\\00201618","Меркурий 230 ART-01 MCLN",7976915,42,null,null,null,2011]
[83,1043,"ДНП \"Борисово-2\"","Яблоневая","уч. 34 оч.1",null,"017\\00201711","Меркурий 230 ART-01 CLN",7977301,48,null,null,null,2011]
[84,1043,"ДНП \"Борисово-2\"","Яблоневая","уч.42 оч. 1",null,"017\\00201568","Меркурий 230 ART-01 CLN",21723839,49,null,null,null,2016]
[85,1043,"ДНП \"Борисово-2\"","Яблоневая","уч.4 оч.1",null,"017\\00201697","Меркурий 230 ART-01 MCLN",7977391,45,null,null,null,2011]
[86,1043,"ДНП \"Борисово-2\"","Сливовая","уч.5 оч.1",null,"017\\00201702","Меркурий 230 ART-01 MCLN",7977397,39,null,null,null,2011]
[87,1043,"ДНП \"Борисово-2\"","Яблоневая","уч. 20 оч.1",null,"017\\00201685","Меркурий 230 ART-01 MCLN",7987976,44,null,null,null,2011]
[88,1043,"ДНП \"Борисово-2\"","Яблоневая","уч.6 оч.1",null,"017\\00201545","Меркурий 230 ART-01 MCLN",7988044,41,null,null,null,2011]
[89,1043,"ДНП \"Борисово-2\"","Яблоневая","уч. 26 оч.1",null,"017\\00201712","Меркурий 200.04 М",8730026,46,null,null,null,2011]
[90,1044,"ДНП \"Борисово-2\"","Ромашковая","уч.118 оч.2",null,"017\\00201633","Меркурий 230 ART-01 MCLN",7976796,18,null,null,null,2011]
[91,1044,"ДНП \"Борисово-2\"","Ромашковая","уч.126 оч.2",null,"017\\00201639","Меркурий 230 ART-01 MCLN",7976816,85,null,null,null,2011]
[92,1044,"ДНП \"Борисово-2\"","Малая Бобровая","уч.40 оч.2",null,"017\\00201674","Меркурий 230 ART-01 MCLN",7976826,69,null,null,null,2011]
[93,1044,"ДНП \"Борисово-2\"","Малая Бобровая","уч. 48 оч. 2",null,"017\\00201705","Меркурий 230 ART-01 MCLN",7977275,90,null,null,null,2011]
[94,1044,"ДНП \"Борисово-2\"","Малая Бобровая","уч.41 оч.2",null,"017\\00201689","Меркурий 230 ART-01 MCLN",7977276,69,null,null,null,2011]
[95,1044,"ДНП \"Борисово-2\"","Малая Бобровая","уч.43 оч.2",null,"017\\00201547","Меркурий 230 ART-01 MCLN",7977277,77,null,null,null,2011]
[96,1044,"ДНП \"Борисово-2\"","Малая Бобровая","уч. 39 оч.2",null,"017\\00201553","Меркурий 230 ART-01 MCLN",7977305,70,null,null,null,2011]
[97,1044,"ДНП \"Борисово-2\"","Ромашковая","уч.122 оч.2",null,"017\\00201512","Меркурий 230 ART-01 MCLN",7987720,83,null,null,null,2011]
[98,1044,"ДНП \"Борисово-2\"","Ромашковая","уч. 120 оч.2",null,"017\\00201617","Меркурий 230 ART-01 MCLN",7987765,87,null,null,null,2011]
[99,1044,"ДНП \"Борисово-2\"","Незабудковая","уч.108 оч. 2",null,"017\\00201506","Меркурий 230 ART-01 MCLN",7987841,67,null,null,null,2011]
[100,1044,"ДНП \"Борисово-2\"","Малая Бобровая","уч.127 оч.2",null,"017\\00201661","Меркурий 230 ART-01 MCLN",7987845,89,null,null,null,2011]
[101,1044,"ДНП \"Борисово-2\"","Незабудковая","уч.109 оч.2",null,"017\\00201542","Меркурий 230 ART-01 MCLN",9296008,71,null,null,null,2011]
[102,1044,"ДНП \"Борисово-2\"","Незабудковая","уч.113 оч. 2",null,"017\\00201700","Меркурий 230 ART-01 MCLN",7990987,75,null,null,null,2011]
[103,1044,"ДНП \"Борисово-2\"","Незабудковая","уч.114 оч. 2",null,"017\\00201530","Меркурий 236 ART-01 PQL",19205549,71,null,null,null,2011]
[104,1044,"ДНП \"Борисово-2\"","Малая Бобровая","уч. 133 оч.2",null,"017\\00201717","Меркурий 230 ART-01 MCLN",9340575,91,null,null,null,2011]
[105,1045,"ДНП \"Борисово-2\"","Малая Бобровая","уч.130 оч.2",null,"017\\00201593","Меркурий 230 ART-01 MCLN",7976878,73,null,null,null,2011]
[106,1045,"ДНП \"Борисово-2\"","Малая Бобровая","уч.73 оч.2",null,"017\\00201643","Меркурий 230 ART-01 MCLN",7977263,26,null,null,null,2011]
[107,1045,"ДНП \"Борисово-2\"","Клеверная","уч. 80 оч. 2",null,"017\\00201635","Меркурий 230 ART-01 MCLN",7977496,37,null,null,null,2011]
[108,1045,"ДНП \"Борисово-2\"","Малая Бобровая","уч.69 оч.2",null,"017\\00201629","Меркурий 230 ART-01 MCLN",7977497,33,null,null,null,2011]
[109,1045,"ДНП \"Борисово-2\"","Клеверная","уч. 81 оч. 2",null,"017\\00201562","Меркурий 230 ART-01 MCLN",7977509,36,null,null,null,2011]
[110,1045,"ДНП \"Борисово-2\"","Малая Бобровая","уч.63 оч.2",null,"017\\00201664","Меркурий 230 ART-01 MCLN",7986999,30,null,null,null,2011]
[111,1045,"ДНП \"Борисово-2\"","Малая Бобровая","уч.75 оч.2",null,"017\\00201594","Меркурий 230 ART-01 MCLN",7987799,30,null,null,null,2011]
[112,1045,"ДНП \"Борисово-2\"","Малая Бобровая-2\"","уч. 61 оч. 2",null,"017\\00201509","Меркурий 230 ART-01 MCLN",7987966,29,null,null,null,2011]
[113,1045,"ДНП \"Борисово-2\"","Малая Бобровая","уч. 59 оч. 2",null,"017\\00201582","Меркурий 230 ART-01 MCLN",7990972,29,null,null,null,2011]
[114,1045,"ДНП \"Борисово-2\"","Клеверная","уч.82 оч.2",null,"017\\00201716","Меркурий 230 ART-01 MCLN",7990996,35,null,null,null,2011]
[115,1045,"ДНП \"Борисово-2\"","Клеверная","уч. 77 оч.2",null,"017\\00201667","Меркурий 230 ART-01 MCLN",7991001,35,null,null,null,2011]
[116,1046,"ДНП \"Борисово-2\"","Сосновая","уч. 131 оч.2",null,"017\\00201698","Меркурий 230 ART-01 MCLN",7021631,"в РУ-0,4кВ ТП-1046",null,null,null,2011]
[117,1046,"ДНП \"Борисово-2\"","Сосновая","уч.10 оч.2",null,"017\\00201678"," Меркурий 230 ART-01 MCLN",7890970,11,null,null,null,2011]
[118,1046,"ДНП \"Борисово-2\"","Малая Бобровая","уч.7 оч.2",null,"017\\00201536","Меркурий 230 ART-01 MCLN",7977194,7,null,null,null,2011]
[119,1046,"ДНП \"Борисово-2\"","Сосновая","уч. 11 оч. 2",null,"017\\00201658","Меркурий 230 ART-01 CLN",32390116,10,null,null,null,2017]
[120,1046,"ДНП \"Борисово-2\"","Сосновая","уч. 64 оч. 2",null,"017\\00201561","Меркурий 230 ART-01 MCLN",7987682,18,null,null,null,2011]
[121,1046,"ДНП \"Борисово-2\"","Сосновая","уч. 14 оч. 2",null,"017\\00201587","Меркурий 230 ART-01 MCLN",7987698,17,null,null,null,2011]
[122,1046,"ДНП \"Борисово-2\"","Сосновая","уч. 68 оч. 2",null,"017\\00201628","Меркурий 230 ART-01 MCLN",7987710,20,null,null,null,2011]
[123,1046,"ДНП \"Борисово-2\"","Сосновая","уч. 16 оч. 2",null,"017\\00201627","Меркурий 230 ART-01 MCLN",7987754,19,null,null,null,2011]
[124,1046,"ДНП \"Борисово-2\"","Сосновая","уч.22/23 оч. 2",null,"017\\00201503","Меркурий 230 ART-01 MCLN",7987755,25,null,null,null,2011]
[125,1046,"ДНП \"Борисово-2\"","Сосновая","уч. 50 оч. 2",null,"017\\00201680","Меркурий 230 ART-01 MCLN",7987842,6,null,null,null,2011]
[126,1046,"ДНП \"Борисово-2\"","Сосновая","уч.58 оч.2",null,"017\\00201504","Меркурий 230 ART-01 MCLN",7987970,12,null,null,null,2011]
[127,1046,"ДНП \"Борисово-2\"","Сосновая","уч. 66 оч. 2",null,"017\\00201525","Меркурий 230 ART-01 MCLN",7987999,19,null,null,null,2011]
[128,1046,"ДНП \"Борисово-2\"","Сосновая","уч. 12 оч. 2",null,"017\\00201565","Меркурий 230 ART-01 MCLN",7988024,14,null,null,null,2011]
[129,1046,"ДНП \"Борисово-2\"","Сосновая","уч. 70 оч. 2",null,"017\\00201580","Меркурий 230 ART-01 MCLN",7990977,24,null,null,null,2011]
[130,1046,"ДНП \"Борисово-2\"","Сосновая","уч.52 оч. 2",null,"017\\00201645","Меркурий 230 ART-01 MCLN",7990979,4,null,null,null,2011]
[{"$f":"A146+1","v":131},1046,"ДНП \"Борисово\"","Сосновая","уч. 18 оч. 2",null,"017\\00201682","Меркурий 230 ART-01 MCLN",7990990,21,null,null,null,2011]
[132,1046,"ДНП \"Борисово-2\"","Сосновая","уч. 56 оч. 2",null,"017\\00201522","Меркурий 230 ART-01 MCLN",7991143,13,null,null,null,2011]
[133,1082,"ДНП \"Борисово-2\"","Вишневая","уч.29 оч.1",null,"017\\00201651","Меркурий 230 ART-01 MCLN",7976846,23,null,null,null,2011]
[134,1082,"ДНП \"Борисово-2\"","Вишневая","уч. 24 оч.1",null,"017\\00201613","Меркурий 230 ART-01 MCLN",7977188,23,null,null,null,2011]
[135,1082,"ДНП \"Борисо-2\"","Вишневая","уч.32 оч.1",null,"017\\00201644","Меркурий 230 ART-01 MCLN",7977190,25,null,null,null,2011]
[136,1082,"ДНП \"Борисово-2\"","Грушевая","уч.18 оч.1",null,"017\\00201579","Меркурий 230 ART-01 MCLN",7977228,32,null,null,null,2011]
[137,1082,"ДНП \"Борисово-2\"","Грушевая","уч.15 оч.1",null,"017\\00201614","Меркурий 230 ART-01 MCLN",7977374,29,null,null,null,2011]
[138,1082,"ДНП \"Борисово-2\"","Вишневая","уч.30 оч.1",null,"017\\00201652","Меркурий 236 ART-01 PQL",20252406,23,null,null,null,2011]
[139,1082,"ДНП \"Борисово-2\"","х. Труново","уч.2",null,"017\\00201640","Меркурий 230 ART-01 MCLN",9328068,38,null,null,null,2011]
[140,1082,"ДНП \"Борисово-2\"","х. Труново","уч.5",null,"017\\00201709","Меркурий 230 ART-01 MCLN",11150922,36,null,null,null,2011]
[141,1083,"ДНП \"Борисово-2\"","Васильковая","уч. 139/2 оч. 2",null,"017\\00201690","Меркурий 230 ART-01 MCLN",6244651,92,null,null,null,2011]
[142,1083,"ДНП \"Борисово-2\"","Васильковая","уч. 102 оч. 2",null,"017\\00201686","Меркурий 230 ART-01 MCLN",7976560,65,null,null,null,2011]
[143,1083,"ДНП \"Борисово-2\"","Колокольчиковая","уч.29 оч.2",null,"017\\00201528","Меркурий 230 ART-01 MCLN",7976718,51,null,null,null,2011]
[144,1083,"ДНП \"Борисово-2\"","Ландышевая","уч. 91 оч. 2",null,"017\\00201713","Меркурий 230 ART-01 MCLN",7976803,44,null,null,null,2011]
[145,1083,"ДНП \"Борисово-2\"","Васильковая","уч. 105 оч. 2",null,"017\\00201554","Меркурий 230 ART-01 MCLN",7976909,65,null,null,null,2011]
[146,1083,"ДНП \"Борисово-2\"","Колокольчиковая","уч. 99 оч. 2",null,"017\\00201552","Меркурий 230 ART-01 MCLN",7977021,56,null,null,null,2011]
[147,1083,"ДНП \"Борисово-2\"","Васильковая","уч. 35 оч.2",null,"017\\00201707","Меркурий 230 ART-01 MCLN",7977117,60,null,null,null,2011]
[148,1083,"ДНП \"Борисово-2\"","Васильковая","уч. 36 оч. 2",null,"017\\00201551","Меркурий 230 ART-01 MCLN",7977292,62,null,null,null,2011]
[149,1083,"ДНП \"Борисово-2\"","Васильковая","уч. 37 оч. 2",null,"017\\00201604","Меркурий 230 ART-01 MCLN",7977304,60,null,null,null,2011]
[150,1083,"ДНП \"Борисово-2\"","Ландышевая","уч.89 оч. 2",null,"017\\00201714","Меркурий 230 ART-01 MCLN",13147968,42,null,null,null,2013]
[151,1083,"ДНП \"Борисово-2\"","Колокольчиковая","уч.97 оч.2",null,"017\\00201683","Меркурий 230 ART-01 MCLN",7977413,54,null,null,null,2011]
[152,1083,"ДНП \"Борисово-2\"","Васильковая","уч. 103 оч. 2",null,"017\\00201649","Меркурий 230 ART-01 MCLN",7977491,65,null,null,null,2011]
[153,1083,"ДНП \"Борнисово-2\"","Васильковая","уч. 101 оч. 2",null,"017\\00201595","Меркурий 230 ART-01 MCLN",7987803,63,null,null,null,2011]
[154,1083,"ДНП \"Борисово-2\"","Ландышевая","уч.86 оч. 2",null,"017\\00201567","Меркурий 230 ART-01 MCLN",7987846,42,null,null,null,2011]
[155,1083,"ДНП \"Борисово-2\"","Ландышевая","уч.85 оч.2",null,"017\\00201655","Меркурий 230 ART-01 MCLN",7987961,41,null,null,null,2011]
[156,1083,"ДНП \"Борисово-2\"","Васильковая","уч.38 оч.2",null,"017\\00201560","Меркурий 230 ART-01 MCLN",7987964,60,null,null,null,2011]
[157,1083,"ДНП \"Борисово-2\"","Колокольчиковая","уч.31 оч.2",null,"017\\00201571","Меркурий 230 ART-01 MCLN",7987987,51,null,null,null,2011]
[158,1083,"ДНП \"Борисово-2\"","Васильковая","уч.34 оч.2",null,"017\\00201624","Меркурий 230 ART-01 MCLN",7990999,59,null,null,null,2011]
[159,1083,"ДНП \"Борисово-2\"","Васильковая","уч. 106 оч.2",null,"017\\00201611","Меркурий 200.04 М",8471178,63,null,null,null,2011]
[160,1083,"ДНП \"Борисово-2\"","Васильковая","уч. 104 оч. 2",null,"017\\00201555","Меркурий 200.04 М",8471586,65,null,null,null,2011]
[161,1083,"ДНП \"Борисово-2\"","Васильковая","уч. 139/6 оч. 2",null,"017\\00201708","Меркурий 236 ART-01 PQL",9294781,52,null,null,null,2011]
[162,1082,"ДНП \"Борисово-2\"","Вишневая","уч.28 оч.1",null,"-","Меркурий 230 ART-01 MCLN",7987808,21,null,null,null,2011]
[163,1082,"ДНП \"Борисово-2\"","х.Труново","уч.4",null,"017\\00201677","Меркурий 230 ART-01 MCLN",7987840,37,null,null,null,2011]
[164,2605,"д. Кирполье","Женевский проезд","6 уч. 9",null,"005\\53120175","Меркурий 236 AT-01 PQL",11187059,23,null,null,null,2012]
[165,1024,"ДНП \"Борисово-2\"","Брусничная","уч. 83 оч.1",null,"017\\00201720","Меркурий 230 ART-01 MCLN",14244564,68,null,null,null,2013]
[166,1,"п. Токсово мкр. Виктория","ЖК \"Холмы\"",24,null,"018\\52300018","Меркурий 230 ART-01 CLN",13030006,5,null,null,null,2012]
[167,2,"п. Токсово мкр. Виктория","ЖК \"Холмы\"","5,6",null,"018\\52300004","Меркурий 236 ART-01 PQL",20251800,8,null,null,null,2016]
[168,1044,"ДНП \"Борисово-2\"","Малая Бобровая","уч. 49 оч. 2",null,"017\\00201676","Меркурий 230 ART-01 MCLN",7977291,90,null,null,null,2011]
[169,8257,"д. Медный завод","ИЖС \"Медное озеро-2\"","9 уч.9",null,"-","МИРТЕК-3-РУ",130200500159,"ШМ7.3",null,null,null,2013]
[170,8257,"д. Медный завод","ИЖС \"Медное озеро-2\"","13 уч.13",null,"018\\551560034","МИРТЕК-3-РУ",130200500108,"ШР5.1",null,null,null,2013]
[171,8257,"д. Медный завод","ИЖС \"Медное озеро-2\"","15 уч.15",null,"-","МИРТЕК-3-РУ",130200500195,"ШМ5",null,null,null,2013]
[172,8257,"д. Медный завод","ИЖС \"Медное озеро-2\"","31 уч.17",null,"018\\55150077","МИРТЕК-3-РУ",130200500126,"ШМ1",null,null,null,2013]
[173,8257,"д. Медный завод","ИЖС \"Медное озеро-2\"","30  уч.18",null,"-","МИРТЕК-3-РУ",130200500024,"ШМ1",null,null,null,2013]
[174,8257,"д. Медный завод","ИЖС \"Медное озеро-2\"","33 уч.33",null,"-","МИРТЕК-3-РУ",130200500177,"ШР1.2",null,null,null,2013]
[175,43,"д. Касимово","Луговая",31,null,"018\\55050144","Миртек-3 РУ",140200500197,5,null,null,null,2014]
[176,43,"д. Касимово","Луговая",37,null,"018\\55050150","Миртек-3 РУ",140200500162,6,null,null,null,2014]
[177,43,"д. Касимово","Луговая",35,null,"018\\55050154","Миртек-3 РУ",140200500232,5,null,null,null,2014]
[178,43,"д. Касимово","Аришкина дорога",83,null,"018\\55050143","Миртек-3 РУ",140200500154,7,null,null,null,2014]
[179,43,"д. Касимово","Аришкина дорога",99,null,"018\\55050136","Миртек-3 РУ",140200500244,12,null,null,null,2014]
[180,43,"д. Касимово","Аришкина дорога",17,null,"018\\55050153","Миртек-3 РУ",140200500188,20,null,null,null,2014]
[181,43,"д. Касимово","Приозерское ш.",76,null,"018\\55050139","Миртек-3 РУ",140200500170,29,null,null,null,2014]
[182,43,"д. Касимово","Аришкина дорога",21,null,"018\\55050128","Миртек-3 РУ",140200500201,35,null,null,null,2014]
[183,43,"д. Касимово","Аришкина дорога",9,null,"018\\55050132","Миртек-3 РУ",140200500228,35,null,null,null,2014]
[184,43,"д. Касимово","Луговая",37,null,"018\\55050142","Миртек-3 РУ",140200500084,4,null,null,null,2014]
[185,43,"д. Касимово","Аришкина дорога",1,null,"018\\55050145","Миртек-3 РУ",140200500166,21,null,null,null,2014]
[186,43,"д. Касимово","Аришкина дорога","1а",null,"018\\55050127","Миртек-3 РУ",130200500185,23,null,null,null,2013]
[187,43,"д. Касимово","Аришкина дорога",30,null,"018\\55161410","Миртек-3 РУ",140200500190,26,null,null,null,2014]
[188,43,"д. Касимово","Аришкина дорога",70,null,"018\\55050140","Миртек-3 РУ",140200500159,27,null,null,null,2014]
[189,43,"д. Касимово","Аришкина дорога",71,null,"018\\55050159","Миртек-1 РУ",130100700112,31,null,null,null,2014]
[190,43,"д. Касимово","Аришкина дорога",33,null,"018\\55050146","Миртек-3 РУ",130200500167,34,null,null,null,2014]
[191,43,"д. Касимово","Аришкина дорога",37,null,"018\\55050126","Миртек-3 РУ",140200500241,35,null,null,null,2014]
[192,43,"д. Касимово","Аришкина дорога",11,null,"018\\55050138","Миртек-3 РУ",140200500176,41,null,null,null,2014]
[193,43,"д. Касимово","Аришкина дорога",73,null,"018\\55050133","Миртек-3 РУ",140200500238,31,null,null,null,213]
[194,43,"д. Касимово","Аришкина дорога",19,null,"018\\55050125","Миртек-3 РУ",140200500208,35,null,null,null,2014]
[{"$f":"A210+1","v":195},43,"д. Касимово","Аришкина дорога",43,null,"018\\55050152","Миртек-3 РУ",140200500186,34,null,null,null,2014]
[196,218,"п.Румболово","Барона Корфа",27,"-","-","ЭЛТА",24227,"РЩ-1.2","-","-","-",2013]
[197,218,"п.Румболово","Барона Корфа",35,"-","-","ЭЛТА",24241,"РЩ-2.2","-","-","-",2013]
[198,218,"п.Румболово","Барона Корфа",45,"-","-","ЭЛТА",24161,"РЩ-2.2","-","-","-",2013]
[199,218,"п.Румболово","Барона Корфа",47,"-","-","ЭЛТА",23987,"РЩ-3.2","-","-","-",2013]
[200,218,"п.Румболово","Барона Корфа",22,"-","-","ЭЛТА",24159,"РЩ-3.2","-","-","-",2013]
[201,218,"п.Румболово","Матвеевская",26,"-","-","ЭЛТА",24024,"РЩ-5.2","-","-","-",2013]
[202,218,"п.Румболово","Матвеевская",23,"-","-","ЭЛТА",24222,"РЩ-5.2","-","-","-",2013]
[203,228,"п.Румболово","Барона Корфа",25,"-","005\\54110008","ЭЛТА",24017,"РЩ-7.1","-","-","-",2013]
[204,228,"п.Румболово","Матвеевская",64,"-","-","ЭЛТА",24076,"РЩ-3.1","-","-","-",2013]
[205,228,"п.Румболово","Румболовский бульвар",66,"-","-","ЭЛТА",24099,"РЩ-3.1","-","-","-",2013]
[206,228,"п.Румболово","Барона Корфа",69,"-","-","ЭЛТА",23458,"РЩ-8.1","-","-","-",2013]
[207,228,"п.Румболово","Румболовский бульвар",71,"-","-","ЭЛТА",23162,"РЩ-8.1","-","-","-",2013]
[208,228,"п.Румболово","Барона Корфа","39А","-","-","ЭЛТА",24198,"РЩ-7.1","-","-","-",2013]
[209,228,"п.Румболово","Матвеевская",13,"-","005\\54110003","МИРТЕК-3-РУ",140200500293,"РЩ-3.1","-","-","-",2013]